Data Logres

| Product | Channels | Input Range | Resolution | Description |
| --- | --- | --- | --- | --- |
| ADC-10/12 | 1 | 0 to 5 V | 8 or 12 bits | Low cost more > |
| ADC-11 | 11 | 0 to 2.5 V | 10 or 12 bits | High channel count more > |
| ADC-16 | 8 | ±2.5 V | 16 bits + sign | High resolution and accuracy more > |
| ADC-20 | 8 | ±2.5 V | 20 bits | Very high resolution, differential inputs more > |
| ADC-24 | 16 | ±2.5 V | 24 bits | Very high resolution, differential inputs more > |
| ADC-40/42 | 1 | ±5 V | 8 or 12 bits | Low cost, bi-polar inputs more > |
| PT-104 | 4 | 0 to 2.5 V | 24 bits | Very high resolution more > |
| TC-08 | 8 | ±70 mV | 20 bits | Very high resolution more > |

| Product | Channels | Resolution | Input Ranges | PC Connection # |
| --- | --- | --- | --- | --- |
| ADC-10 | 1 | 8 bits | 0 to 5 V | Parallel |
| ADC-40 | 1 | 8 bits | ±5 V | Parallel |
| ADC-12 | 1 | 12 bits | 0 to 5 V | Parallel |
| ADC-42 | 1 | 12 bits | ±5 V | Parallel |
| ADC-200 | 2 | 8 bits | ±50 mV to ±20 V | Parallel |
| PicoScope 2202 | 2 | 8 bits | ±50 mV to ±20 V | USB |
| PicoScope 3000 | 2 | 8 bits | ±100 mV to ±20 V | USB |
| ADC-100 | 2 | 12 bits | ±50 mV to ±20 V | Parallel |
| ADC-212/3 | 2 | 12 bits | ±10 mV to ±20 V | Parallel |
| ADC-212/50 | 2 | 12 bits | ±50 mV to ±20 V | Parallel |
| ADC-212/100 | 2 | 12 bits | ±50 mV to ±20 V | Parallel |
| ADC-216 | 2 | 16 bits | ±10 mV to ±20 V | Parallel |
| PT-104 | 4 | 24 bits | 0 to 2.5 V | Serial |
| ADC-16 | 8 | 16 bits + sign | ±2.5 V | Serial |
| SERIAL TC-08 | 8 | 16 bits | ±60 mV | Serial |
| USB TC-08 | 8 | 20 bits | ±70 mV | USB |
| ADC-20 | 8 | 20 bits | ±2.5 V | USB |
| USB ADC-11/10 | 11 | 10 bits | 0 to 2.5 V | USB |
| ADC-11/10 | 11 | 10 bits | 0 to 2.5 V | Parallel |
| USB ADC-11/12 | 11 | 12 bits | 0 to 2.5 V | USB |
| ADC-11/12 | 11 | 12 bits | 0 to 2.5 V | Parallel |
| ADC-24 | 16 | 24 bits | ±2.5 V | USB |

Ocilloscopes

| Product | Channels | Bandwidth | Sampling Rate | Resolution | PC Connection | Price |
| --- | --- | --- | --- | --- | --- | --- |
| ADC-40 | 1 | 10 kHz | 20 kS/s | 8 bits | Parallel | £69.00 $130.80* €101.09* |
| ADC-42 | 1 | 7.5 kHz | 15 kS/s | 12 bits | Parallel | £95.00 $180.08* €139.18* |
| PicoScope 2104 | 1 | 10 MHz | 50 MS/s | 8 bits | USB | £125.00 $236.95* €183.12* |
| PicoScope 2105 | 1 | 25 MHz | 100 MS/s | 8 bits | USB | £199.00 $377.22* €291.54* |
| ADC-100 | 2 | 50 kHz | 100 kS/s | 12 bits | Parallel | £299.00 $566.78* €438.04* |
| PicoScope 2202 | 2 | 2 MHz | 20 MS/s | 8 bits | USB | £199.00 $377.22* €291.54* |

| Product | Channels | Bandwidth | Sampling Rate (real time) | Sampling Rate (repetitive signals) | Resolution | PC Connection |
| --- | --- | --- | --- | --- | --- | --- |
| PicoScope 2202 | 2 | 2 MHz | 20 MS/s |  | 8 bits | USB |
| PicoScope 3224 | 2 | 10 MHz | 20 MS/s |  | 12 bits | USB |
| PicoScope 3424 | 4 | 10 MHz | 20 MS/s |  | 12 bits | USB |
| ADC-200/20 | 2 | 10 MHz | 20 MS/s |  | 8 bits | Parallel |
| ADC-200/50 | 2 | 25 MHz | 50 MS/s |  | 8 bits | Parallel |
| PicoScope 3204 | 2 | 50 MHz | 50 MS/s | 2.5 GS/s | 8 bits | USB |
| ADC-212/50 | 2 | 25 MHz | 50 MS/s | 5 GS/s | 12 bits | Parallel |
| ADC-200/100 | 2 | 50 MHz | 100 MS/s |  | 8 bits | Parallel |
| ADC-212/100 | 2 | 50 MHz | 100 MS/s | 5 GS/s | 12 bits | Parallel |
| PicoScope 3205 | 2 | 100 MHz | 100 MS/s | 5 GS/s | 8 bits | USB |
| PicoScope 3206 | 2 | 200 MHz | 200 MS/s | 10 GS/s | 8 bits | USB |

Si me baso en esta pagina es mejor…

http://www.picotech.com/order.html#automotive

anotare los productos que no se donde chingados colocar….